ECU LAB SCHOOL AED POLICY

- PURPOSE

To provide guidance in the management or administration of a school-based AED (Automated External Defibrillator) Program.

- Individual School RESPONSIBILITIES

If a school has an AED, the school is responsible for selecting a site coordinator that will be responsible for carrying out the details of the AED Program Policy and Procedures. The Site Coordinator will function as the key contact and resource person. The school is not subject to this policy until they have an AED placed on their campus.

- SITE   COORDINATORRESPONSIBILITIES

A SITE COORDINATOR will be the key contact person and is responsible for coordinating AED awareness training, equipment and accessory maintenance, and revision of guidelines as may be needed after program has been implemented.

The Site Coordinator shall recruit and select personnel to receive AED training and    ensure    that    this    team    receives    annual    or    biannual    training.

- Individual School RESPONSIBILITIES

Trained team members shall:

  - Receive emergency calls from internal locations.

  - Call 9-1-1 to initiate Emergency Medical Service response.

  - Activate the internal emergency response system and provide prompt life support according to training and experience.

  - Respond to emergency events with AED in accordance with the “Medical Emergency Procedures” section as designed by Site and Site Coordinator.

  - Understand and comply with the requirements of this policy.

- MEDICAL  EMERGENCYPROCEDURE

Each individual school must have a Medical Emergency Procedure in place. Refer to this as the Emergency Medical Response Action Plan.

- LOCATION OF AED(s)

The school must have the following information in regards to the placement of their AED (s):

The AED(s) are located:

- school

- phone

- exact location

Signs should be placed at main entrances to the campus that give direction as to the location (s) of AED (s).

- EQUIPMENT  MAINTENANCE

  - Each AED will have one set of defibrillation electrodes connected to the device and one spare set of electrodes with the AED. One resuscitation kit will be connected to the handle of the AED.

  - All equipment and accessories necessary for support of medical emergency response shall be maintained in a state of readiness. Maintenance requirements will include:

    - Site Coordinator will be responsible for having regular equipment maintenance performed.

    - Site Coordinator or a designated team member shall be responsible for informing other AED response team members of changes to availability of AED.

    - Site Coordinator or designee shall notify designated team member of AED cleaning, decontamination, restocking, inspection, and completion of appropriate paperwork.

    - If an AED is not functioning properly, it must be withdrawn from service and the removal must be made known to staff.

    - If AED is withdrawn from service for any reason, the response team members shall be informed and then notified again when the AED is returned to service.

    - Site Coordinator is responsible for the maintenance records, and reporting.

- MONTHLY SYSTEM CHECK

Once each calendar month, the Site Coordinator shall conduct and document a system check. This check shall include review of the following elements:

  - Emergency kit supplies

  - AED battery life

  - AED operation and status

Last Revision/Adoption:

Legal References: 115C-36, -47 Cross References: None